## Sheet1
Mumbai Sewage Disposal Project
Stage II - Priority Works
Bhandup WwTF
Closing date : 09/07/2020
Instruction To Tenderer (ITT)
The MSDP – Stage II Priority Works project
- Expansion of sewage collection networks
-Wastewater treatment facilities
-Treated effluent disposal
-Upgrading of existing pumping station
-Design, construction, operation and maintenance of 215 MLD Bhandup Wastewater Treatment Facility with O & M for 15 (Fifteen) years
-The Contract period for Design-Build is 48 (Forty Eight) months inclusive Monsoon followed by 15 years of Operation and Maintenance.
-EMD = 17.60 Cores
-It shall also include tertiary treatment capacity of 108 MLD
-Plot Area = 87,000 sqm
Appendix
The main elements of Design Build work include the following:-
a) | Demolition of existing structures;
-Demolition of existing treatment facility and lagoon nos. 3 and 4 months.
b) Maintenance of existing flows through the site;
c) Draining of existing lagoons on which the new works is to be built;
d) Removal of sludge from all existing lagoons, and disposal of the sludge removed;
e) Ground improvement works;
f) Temporary works;
g) Site access roads;
h) Provision of all services (including water, electricity, gas, broadband);
i) Screening and grit removal;
j) Preliminary treatment;
k) Primary treatment (if required as per proposed process)
l) Biological treatment;
m) Reuse/Tertiary treatment;
n) Sludge treatment;
o) Energy/Power Generation;
p) Safe transportation of dewatered Class “A” sludge to designated site
q) Safe transportation of Grit and screenings ;
r) Odour control;
s) Associated buildings; and
t) Landscaping and planting.
u) Any Pumping Necessary
v) Transportation arrangement for transport of sludge
CiVIL ACTIVITY (Volume 2A General Civil Specification)
1 | Topographical survey
2 | Soil Investigations
-pumping station
-water retaining structures
-dewatering facilities
List of drawings
| WwTF-BNP-TEN-LP-001 |  |  | Bhandup WwTF – Existing IPS and Proposed Improvements to Existing Access Road
| WwTF-BNP-TEN-LP-002 |  |  | Bhandup WwTF – Existing WwTF Layout Plan
| WwTF-BNP-TEN-LP-003 |  |  | Bhandup WwTF – Site Area and Interfaces
| WwTF-BNP-TEN-LP-004 |  |  | Bhandup WwTF – Proposed Access Road Cross section
| WwTF-BNP-TEN-LP-005 |  |  | Bhandup WwTF – Surge Tank – Typical Details and Proposed Raising of Coping
| WwTF-BNP-TEN-LP-006 |  |  | Bhandup WwTF - Site Area and Interfaces
| WwTF-BNP-TEN-LP-007 |  |  | Bhandup WwTF – Compound Wall
| WwTF-BNP-TEN-LP-008 |  |  | Bhandup WwTF – Typical Inlet Chamber
Soil investigation report in BNPVol5BackgroundInfoPart1
| BH-1 & BH-2= |  | soil is of sandy clay upto 6.0m depth & From 6.0m to 25m Basalt
| BH-3 = |  | soil is of Marine clay upto 3.0m depth & From 3.0m to 25m Basalt
| BH-4 |  | soil is of Marine clay upto 2.0m depth & From 2.0m to 25m Basalt
| BH-5 |  | soil is of Marine clay upto 10.0m depth & From 10.0m to 23m Basalt
| BH-6 |  | soil is of Marine clay upto 10.0m depth & From 10.0m to 23m Basalt
| BH-7 |  | soil is of clay upto 9.0m depth & From10.0m to 23m Basalt
| BH-8, BH-9 |  | soil is of clay upto 6.0m depth & From7.0m to 23m Basalt
Ground water table below 3.0 m ground level
| Sewage flow samples |  |  | BNPVol5BackgroundInfoPart2
| Built up drawing of lagoon |  |  | BNPVol5BackgroundInfoPart4
1 | Improvement of Road |  |  | sectionA-A | 97m+1125m = | 1222 | m
2 | Improvement of Road |  |  | section B-B | 135 m